STANDARD OPERATING PROCEDURE

Compressed Gases

According to the Material Safety Data Sheet (MSDS) for Compressed Gases special precautions must be taken when working with this chemical. Below are some of the characteristics of Compressed Gases followed by some recommendations in handling the chemical and finally any paperwork needed in order to use the chemical in the laboratory. This Standard Operating Procedure will be followed along with the requirements of the Chemical Hygiene Plan.

Laboratory List of Compressed Gases: Nitrogen, Oxygen, Carbon Monoxide, Nitrogen Dioxide, Nitric Oxide, Argon, Helium, Carbon Dioxide, Ammonia

Brief description of proposed chemical work:  Compressed gases have the potential for creating hazardous working environments. They are often used under high pressure (2000 psi/138 bar and higher) and weighing up to 150 pounds they can be extremely dangerous if proper handling procedures are not followed. There are six types of compressed gases: flammable gases, oxygen and oxidizing gases, corrosive gases, highly toxic gases, cryogenic liquefied gases and inert gases. Some compressed gases may require specific handling and personal protective equipment. If your laboratory has these compresses gases a more specific SOP will be required for your proposed work.

Brief Safety Overview:

●	The Principal Investigator is responsible for training employees using the material on site.  The training should include a discussion of the known and potential hazards; an explanation of the relevant policies, techniques and procedures including the proper use of personal protective equipment, emergency/spill procedures and containment equipment (engineering controls).

●	Limit access to authorized users.

●	Minimize the possibility of inadvertent ingestion, inhalation and direct skin or eye contact with the substance.

●	Chemical has been placed in the Chemical Inventory (EHS Assistant)

●	Require annual training.

Routes of Exposure

Skin - Hazardous in case of eye and skin contact.

Inhalation - Hazardous in case of inhalation.

Ingestion- Hazardous in case of ingestion.

Injection- N/A

Toxicological Effects

Acute Effects/ Precautionary Safety Measures:  Specific health risks are dependent on the compressed gas. Refer to Material Safety Data Sheets (MSDS) for specific information.

Chronic Effects/ Precautionary Safety Measures: Specific health risks are dependent on the compressed gas. Refer to Material Safety Data Sheets (MSDS) for specific information.

Handling and Storage Instructions

Example: (Preparation of the stock solutions): Preparation can depend upon the laboratory practices. Proper laboratory procedure must be followed and employees must be trained to handle the material.

Storage: Compressed gases must be capped when not in use. Compressed gases must be secured above the midpoint to a wall, holding cage, heavy work bench or lab bench or a non-tip base. Compressed gases should be stored in a well-ventilated area, in the upright position, and not in exit ways or egress routes. Incompatible gases must be separated by a distance of at least 20 feet or five foot firewall with a fire rating of ½ hour. When transporting cylinders they must be strapped and a wheeled cart that cannot be tipped over must be used.

Location – Engineering controls

Ventilation (example: Fume Hood, Canopy Hoods, etc.): Some compressed gases require specific ventilation. Refer to MSDS

Designated area (specify): Area where cylinder can be secured properly...

PPE required:

Skin/Body Protection (example: Lab Coat) Laboratory Coat

Eye protection

Face shield

Respirator (example: N95):

Hand protection (example: Nitrile gloves): Appropriate Gloves for Compressed Gas

Cleanup/Decontamination procedures for work area after use: N/A

Exposure Response and First Aid Measures

Skin: Wash skin with disinfectant soap and cover the contaminated skin with anti-bacterial cream. Seek immediate medical treatment.

Eyes: Flush eyes for at least 15 minutes while holding eyelids open. Remove contacts if they do not flush out. Seek immediate medical treatment.

Inhalation: Remove victim from the exposure area and take to fresh air immediately. Seek medical immediate treatment. Do not perform mouth-to-mouth resuscitation.

Ingestion: Do not induce vomiting. Seek medical immediate treatment.

Emergency Procedure for Chemical Spills and Accidental Releases

In the event of a leak or explosion of the cylinder:

Make sure that the fume hood is working properly for appropriate ventilation. Evacuate all personnel from the space and shut the door. Post the door with the chemical spill sign from the spill kit. Call Environmental Health and Safety Emergency Response Team.

Disposal Procedures

All gas cylinders should be returned to OSU Stores.

This Standard Operating Procedure must be placed in the Chemical Hygiene Plan and the MSDS must be accessible. Also, all laboratory personnel must be familiar with safe handling practices (i.e., training with documentation of training) when working with these chemicals. This must be incorporated into the comprehensive chemical hygiene plan of the laboratory. If you have any questions regarding a comprehensive mandatory laboratory chemical hygiene plan please contact your Representative at Environmental Health and Safety (292-1284).

For any other questions or concerns, please contact:

PI contact information

Name:	     					Date:

Office Phone:        				E-mail:

Cell phone:      				Home phone:

P.I. Signature ___________________________________________________________